**FACS Aria III 4 laser**

**Laser type:**

405nm iFlex 2000 laser 57mW

488nm Air cooled Coherent Sapphire laser 20mW

561nm Air cooled Coherent Sapphire laser 50mW

633nm Air cooled JDS Uniphase HeNe laser 20mW